## Slide 1: Wednesday June 22nd
08:30 Machines in stand-by
12:30 Access in LHC for QPS and PC:
  QPS quench heater power supply RB.A12
  EPC for RSF2.A67B2 and RQ9.R8B1.
  RCBH27.L1B2 was taken out of s81 SOC and put in not_used, will be repaired from EPC at the next occasion: today…
  Alarm added to “big sister” for OFSU crashes
16:24 Power cut
  Lightning striking us…
  Several EL breakers as various levels tripped

## Slide 2: Thursday June 23rd
Status morning: Everything recovered except…
  Cryo problems in point 4 & 8: water was stopped. To be recovered. Estimate: this afternoon.
  Cryo problem in point 3: EL issue, damaged equipment. To be fixed.
  Compensators to be reconnected.
  RCBCH10.L3B1, no communication  to be checked this morning.
  All PC for instrumentation to be switched on.
  QPS communication problem with controller of RQD/F in 67, needs a reset in the tunnel.
  Remote control with some valves to be checked.
  Status experiments: ATLAS needs access, CMS OK, LHCb OK, ALICE OK. To be switched on later…

## Slide 3: Thursday June 23rd
In the shadow of recovery:
  Repair RCBH27.L1B2.
  Access P6 for pulsing kickers in local.
  Install additional diagnostics for OP and upcoming MD.
  Firmware upgrade for ADT beam position modules (observation only affected)
  TI2 AUG (red button) repair
  …
Let us know any needs for access, we must organize…

## Slide 4: Ahead
Check injection kicker pulse.
Collimation loss maps (450 GeV, 3.5 TeV): ran out of 4 week qualification interval.
Next intensity step: 1092b  1236b