## Slide 1: Technical Stop feed-down
P.Charrue on behalf of the BE Controls Group

## Slide 2: Reminder: CO planned changes during TS#4
New logging storage space
  Done last Monday and tested ok
New routers configurations in the CCR
  Done last Monday and tested ok
A new version of japc-monitoring was delivered and deployed (V3.4.0)
Release LSA for LHC/SPS with changes to allow publication of Trims
New PRO release of cmw-rda v.2.9.x Java library RDA
Upgrade of all Proxies (LHC & Injectors)
Upgrade of RBAC A1 servers

## Slide 3: Controls issues from eLogbook
Communication problems with handshake with experiments:
  injection handshake not working.
  we are publishing the WARNING but looks like the experiments do not receive anything, no reaction.
  After calling Kris, we restarted the CMW-DIP-LHC-CRITICAL process
Operation VISTAR is not working
LSA issues with the collimators
  Greg rolled back to the previous version and restarted the LSA servers
XPOC missing filling pattern
  Roman rolled back to the previous version
LHC Operations page not working due to a problem with the fixed display framework ... calling developers
  Jakub restarted the VISTAR

## Slide 4: DIP and VISTAR K.Kostro
The DIP issue was solved by restarting the CMW-DIP-LHC-CRITICAL process
I have been called for the issue with the Vistar page not displaying anything. I saw that in admin Vistar monitorOn were counted but there were no updates. Since Joel released DIP gateway for the –EXP one I thought it could be related so I copied the old jars and restarted the gateway but this did not change anything. So the problem is probably in the Vistar code or environment.

## Slide 5: DataBase publication C.Roderick
The quarterly database security patch applied to the LSA database on 31st August put the database Java re-publishing client into a strange state. The Java process was re-deployed with no code changes, but with an updated CMW RDA library. Things appeared to be working for a while, though not fully tested due to the ongoing LHC TS.
During the LHC restart, publication problems appeared intermittently and could only be re-produced from running applications (e.g. in the CCC). The problem turned out to be related to some of the database connections in the SPS/LHC LSA Server's connection pool to be in "bad state" - able to update data in tables, but not cause a publication of the data from the database. Restarting the LSA sever and the Java database re-publishing server on Saturday around 20:10 seems to have solved the problem.
Since the restart, other problems have been observed, sometimes related to values whose source is ultimately the publications from the LSA database (e.g. no property updates after re-connection observed by Roman and Alick- re-subscription solves the problem). Alick also mention no DIP updates from the Experiments.
However, these problems do not seem to be caused by database publishing which appears to be working normally.

## Slide 6: XPOC and Sequencer R.Gorbonosov
Problems with XPOC related to the values not received from the DB (filling pattern and next injection bucket number). The diagnosis of these problems Chris described very well.
LHC Sequencer experienced some problems on Saturday morning while checking the state of power converters: random “front-end is down” exceptions: each task repetition produced similar exception for different devices while the PCs synoptic didn’t show any problems
The only significant change done in LHC Sequencer was switching to the latest cmw-rda library. Other changes are related to the Sequence Editor development and are not used during the sequence execution. After rolling back to the previous version of Sequencer (using the previous version of cmw-rda 2.8.13) this problem seems to disappear.

## Slide 7: LSA - G.Kruk
1. LHC Collimator task that compares HW and DB settings
  To fix the problem I rolled back version of that module to previous on LHC and SPS servers.
  I will know more on Monday when I will check it with InCA team.
2. “Problem with FIDEL task”
  It looks like the Fidel classes keep an internal state (Hardware group name).
  This variable seems to be initialized by a sequencer task during injection and then used later during ramp.
  The problem comes if the LSA server is rebooted in the meantime.
  This weekend I rebooted LSA server twice – on Friday to cure the LHC Collimator task and on Saturday when Chris asked me to do it to solve the publication problem.
  And the FIDEL problem occurred twice after these reboots. I’ll talk to M. Strzelczyk (Fidel Responsible) about that on Monday.
3. “LSA check on PC state not working properly”
  This sequencer task is implemented in Java class called “LSA” but it doesn’t use LSA Server to perform the check of PC state.
  It reads it directly from FGCs via JAPC/CMW. See Roman’s mail for details.
4. “LSA is tired: it takes MINUTES to send an actual trim”
  The trim was actually relatively fast, it took about 200ms. The problem was with sending the value to the FGC. From LSA all settings are send to the HW using asynchronous SET.
  So basically we do a SET and we wait for the hardware to send us ACKnowledgement.
  Typically ACKs come after 1-2 sec (for certain device types after 30-40 sec), but we wait up to 60 seconds and then we throw a timeout exception (that you can see in the Logbook entry).
  We observed a similar problem few times in the past but it was happening only when driving thousands of FGCs at a time.
  When talking to Wojtek we thought that it might be related to the fact that by default CMW drops messages coming from the HW if CMW queues are full on the client side.
  This would explain quite well what we observed. So to solve the problem, during this TS I’ve set appropriate JACORB property to assure that no ACK messages are lost. But it seems that this didn’t solve the problem or the problem is elsewhere.
  What is different is that so far it was happening only when sending settings to hundreds/thousands of devices.
  In this case the SET was done only on 8 PCs. It looks a bit related to the problem from point 3. To be followed up..

## Slide 8: Conclusion
A few issues were fixed immediately by rolling back to the previous version
The DB handshake seems to be solved but today the experts will have a closer look on the logfiles
DIP and VISTAR problems will also be anaylsed in detail today
LSA experts will contact FIDEL and FGC experts
I will follow these up and keep OP informed