## Slide 1: Wednesday 4th May
UPS problem point 5 – no beams since Tuesday 2 pm
  (External) Experts replaced UPS in point 5 by smaller spare
  Putting ‘spare parts’ back at point 4
  16:00 UPS systems back
12:00 - In parallel - ATS optics check without beam and 2 sectors in simulation mode
  Finish 16:15
  Followed by pre-cycle – BPM off-set MD starting later
18:30 first beams injected – BPM off-set MD really started
RQTF.A23B1 trips due to a water fault -> needed for ramp
0:00 TCDQ/TDI alignment MD
04:00 SPS injection kicker oil level problem
  06:00 Decided to mask IL, beam back – but MD over
Thu 6:30 prepare for access for RQT water fault
  Access over by about now
Pre-cycle and continue MD: RF single bunch instabilities
  Expect beam around 9:30
05/05/2011

## Slide 2: ATS MD SR, SF, MGi, GM, RdM, WVD
Dry test of the ATS optics, with sectors 45 and 56 in simulations (UPS problem)
  Standard precycle + drive to ATS injection settings - Check of new knobs (tune, chroma, sep, crossing) at injection - Ramp of power converter settings - Ramp of the RF parameters - Check of knobs at top energy
  Found a number of small issues with the settings but they were all easily solved. Still to be followed up before the tests with beam:
    definition of IP knobs in IP5 and IP8 uses PCS not available. They ahve to be removed from the knob definition;
    chromaticity decay to be added onto the flat-top decay plateau.
  Overall: dry tests very successful!