## Slide 1
MP7 link fault 18/8/2011
Davide Bozzini, 19th of August 2011

## Slide 2: SPS power network consolidation

## Slide 3: Nature of works

## Slide 4: Crossing points and trial holes

## Slide 5: Crossing points and trial holes
  Trial holes shall be done whenever necessary to exactly localize the crossing known and unknown utilities
  Trial holes shall provide information on the nature of the ground for excavating and timbering purposes
  All known crossing points shall be confirmed by a trial hole
  CERN known crossing points are shown in each concerned work package set of drawings
  The contractor shall identify any crossed utility before starting digging

## Slide 6
  Nature of fault
  Damage of a 18 kV power cable during excavation
  The trial hole was done during the TS to exactly determine position and depth
  Excavation to be done durin machine operation according to work status

## Slide 7
  Preliminary outcome
  The trial hole was done during the TS to exactly determine position and depth
  Excavation to be done during machine operation according to work status
  BA2 18 networks crossed without any problem. Excellent execution
  Today accident:
    Operators ad-interim to cope with staff holidays
    Supervisors absent during the accident 11h45
  HSE unit inspection on site today Friday morning
  Setting up of the fact finding group to be confirmed by DG
  Trial holes and crossing works suspended
  Normal operation of network expected by tonight