## Slide 1: Sat 27/10
7:58 beam dump by LBDS B2 (ASIBUS card failed), access needed; access for undulator repair in parallel.
10:32 LBDS ASIBUS card (safety bus) replaced
11:50 Undulator (L&R of point 4) power converters repaired. Synchrotron light monitors available at low energy. Insert BSRT mirror for B2 (F. Roncarolo)
14:33 STABLE BEAMS #3231. Initial luminosity ~7.4x1033 cm-2s-1
16:29 Trip of RCBWV5.L7B1. End of fill #3231. ~32 pb-1 in 2 hours
18:50 STABLE BEAMS #3232. Initial luminosity ~7.4x1033 cm-2s-1

## Slide 2: Sun 28/10
No major issue with the change from summer to winter time
04:30 (winter time): electrical perturbation on 18 kV in point 1 effect of EDF perturbations. Trip of RD1.LR1 & LR5 and RD34.LR3 trip (we were going to dump anyway…). End of fill #3232. ~160 pb-1 in 10.5 h.
05:30 Ready at injection. No injection permit from LHCb
06:00 – 06:34 storm of electrical perturbations. Several Trips:
  RDs
  LHCb dipole
  RBs
Presently recovering: RB still to be restarted, piquet on site
PS trying to increase further satellites

## Slide 3: ALFA and BSRT temperature
BSRT temperature evolution
3207
3220
3223
3225
3226
3229
F. Roncarolo
BSRT B2 out
Long. Blow-up@inj
Long. Blow-up@inj

## Slide 4: ALFA and BSRT temperature
ALFA temperature evolution
3207
3220
3223
3225
3226
3229
B. Salvant
Long. Blow-up@inj
Long. Blow-up@inj

## Slide 5: Bunch length distribution
Flat top

## Slide 6: Bunch population distribution
Flat top

## Slide 7: Nb2/tb distribution
Flat top

## Slide 8: Beam 2

## Slide 9: B1 vs B2
Beam longitudinal spectra at flat-top
B. Salvant

## Slide 10: Satellites
25/10 12:27 Enhancement of satellite population
25/10 20:40 Reverted back due to LHCb triggers at injection
26/10 17:24 Longitudinal set-up (adjustment of re-bucketing on h=84). But no more satellite (LHC not informed)
27/10 10:36 Increased PS longitudinal blow-up to generate satellites. Not enough to be continued - ongoing (compatibly with losses)

## Slide 11: Pending
Gated BBQ on B2
Tuning of the transverse damper high bandwidth (1 hour)

## Slide 13: ALFA and BSRT temperature
BSRT temperature evolution
3207
3220
3223
3225
3226
3229