## Slide 1: TS#4-2012 Provisionnal report
January 10th 2012

## Slide 2: List of activities
As usual preventive maintenance of the different systems
Lot’s of preparation for LS1
Civil engineering
  Toilets renovation at points 2 and 4 (LS1)
  Installation of GGPSO at point 5 (LS1)
  Installation of the rail for the future shielding in US85 (LS1)
  Drain cleaning
Handling and logistic
  Intensive corrective maintenance of lifts (LS1)
  TIM installation at point 5
Access and safety systems
  Annual maintenance of the evacuation systems

## Slide 3: List of activities
IT
  Network switch replacement UA47
  Installation patch-cords UMTS in UJ33, TZ76
  Test of VDSL sockets in sector 56 (LS1)
  Installation of patch-cords UMTS (LS1)
  IT cabling at points 4 and 8
  TETRA measurements (LS1)
Cooling and ventilation
  Kickers project at points 2 and 8 (LS1)
  Modification of the RIA tap in USC55 (LS1)
  Leak search in SU4
  Ventilation measurements for future pressure gauge installation (LS1)
  RB circuits at point 2 : flexible collars installation (ELETTA) and circuit tuning
  PM32 de-sanding

## Slide 4: List of activities
Electricity
  Annual electrical tests [test secours to be redone in March?]
  UPS power cabling in US85-UA83 (LS1)
  Cable trays installation in UJ14 and UJ16 (LS1)
  Cable trays modification in UL55 and TZ76 (LS1)
  Emergency Lighting check in TZ76
  New power switchboard ESD2/56 at point 5 (LS1)
  Safety switchboard measurements
  Lot’s of visits in view of LS1: WCC at point 3, VIC for Flexwell, UPS replac.
  WCC cables leak repair (temporary) at point 4
  Optical fiber measurements and inspection - Access on Thursday morning in sector 81
  Replacement of the ENS controller card in UJ76

## Slide 5: List of activities
Xrays
  [1L5, 1R5, 2L1, 2R1] Xrays on triplet Q1 – analysis in progress but conform with what expected
  [7R8] Xrays on QRL interconnection
  [1R8, 7R8] Xrays of 6 Warm modules – the end
Survey
  Inner Triplets measurement at point 5
  Scan of UL14 and UL16 areas (LS1)
  Installation of force sensors on Inner Triplets of point 2
  HLS repair – C3L5

## Slide 6: List of activities
Cryogenic
  Maintenance and checks of cryogenic systems
  Measuring of the current lead to pigtail resistance in all sectors
Protection systems
  Verification of the supports for installation of lifting device inside the DQSQ phonic shield enclosures in UA23 (LS1)
  Inspection of DQRB's point 7 left and right sides (LS1)
  Verification of the DYPB cable length for all 154 yellow racks in sectors 34, 45, 56 (LS1)
  ELQA test preparation (LS1) Need access on Thursday

## Slide 7: List of activities
Target and dumps
  Passive detector retrieval
  Mechanical intervention on TDIs RA23-RA87
    LVDT are realigned. abnormal wear noticed
  Intervention on TEDs TI2-TI8 :
    mechanical transmission was replaced and tested – the leaky flange was sealed - the 2 actuators of the jaws were replaced (problem of accumulated grease)
  Collimators - control system data acquisition in UJ33 and TZ76
  Installation of a static LVDT test system on slot TCSM.4L3.B2.
Kickers and dump
  Installation of current pick up on the entry box of MKB RA67
  Check of water flow in UA23 and UA87
  Replacement of MKD generators and magnet interface in 6R

## Slide 8: List of activities
Beam instrumentation
  Inspection of possible location for BGV (LS1)
  BLMED (diamond detector) moving in C6R4
  Installation of 4 mobile monitors and Diamond detector in C12L6
  Exchange of BLECF due to optical link problems in RR13 and RR17
  Replace BWS wires in 5R4 and in 5L4
  ICT installation in sector 45
  FBCT DIDT system maintenance and upgrade
  BSRT replacement on beam 2
  Attenuators exchange at Pt6
  Need access in different areas for BPM

## Slide 9: List of activities
Vacuum
  Additional pumping groups on the leak zone 8L
  Corrective and preventive maintenance of vacuum instrumentation
  Beam vacuum
    Leak detection in A5L1 and Q6R5
    Support for BI interventions
Foward detectors
  ATLAS ZDC and LHCf - Installation and commissioning
  CMS ZDC - Installation and commissioning